## Sheet1
site name | parameter name | trend period | seasonal trend | analysis note | confidence that trend direction is decreasing | proportion of censored observations | proportion of unique observations | number of censor levels | median value for the trend period | annual Sen slope (attribute units/year) | lower confidence interval for annual Sen slope | upper confidence interval for annual Sen slope | percent annual change in Sen slope | site type | confidence of improving trend | NZTM.X | NZTM.Y | District | Freshwater Management Unit | Water management Zone | Water management Subzone | units
Oroua Trib at U/S Kimbolton STP | Dissolved Oxygen Concentration | 5 | TRUE | ok | 0.69709 | 0 | 0.98276 | 0 | 10.57 | 0.029994 | -0.04091 | 0.14361 | 0.28376 | RepSite | Likely increasing | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | g/m3
Oroua Trib at U/S Kimbolton STP | Dissolved Reactive Phosphorus | 5 | FALSE | ok | 0.053021 | 0.15254 | 0.30508 | 1 | 0.01 | 0.00080275 | 0 | 0.0017376 | 8.0275 | RepSite | Very unlikely improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | mg/L
Oroua Trib at U/S Kimbolton STP | E. coli | 5 | TRUE | ok | 0.87651 | 0.016949 | 0.84746 | 1 | 354 | -14.0924 | -80.3933 | 11.8848 | -3.9809 | RepSite | Likely improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | E. coli/100 mL
Oroua Trib at U/S Kimbolton STP | Ammoniacal Nitrogen (NH4) | 5 | FALSE | WARNING: Sen slope based on two censored values | 0.79333 | 0.88462 | 0.19231 | 4 | 0.005 | 0 | 0 | 0 | 0 | RepSite | Likely improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | mg/L
Oroua Trib at U/S Kimbolton STP | Nitrite Nitrogen (NO2) | 5 | FALSE | WARNING: Sen slope influenced by censored values | 0.73019 | 0.32203 | 0.15254 | 1 | 0.003 | 0 | -0.00029901 | 0 | 0 | RepSite | Likely improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | mg/L
Oroua Trib at U/S Kimbolton STP | Nitrate Nitrogen (NO3) | 5 | TRUE | WARNING: Sen slope influenced by censored values | 0.72161 | 0.11864 | 0.89831 | 1 | 0.389 | -0.0088072 | -0.05099 | 0.0097983 | -2.2641 | RepSite | Likely improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | mg/L
Oroua Trib at U/S Kimbolton STP | pH | 5 | FALSE | ok | 0.018443 | 0 | 0.7931 | 0 | 7.49 | -0.056409 | -0.11328 | -0.013373 | -0.75313 | RepSite | Extremely unlikely increasing | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a
Oroua Trib at U/S Kimbolton STP | SIN (Soluble Inorganic nitrogen) | 5 | TRUE | ok | 0.64089 | 0.016949 | 0.94915 | 1 | 0.393 | -0.0075721 | -0.050258 | 0.013289 | -1.9267 | RepSite | As likely as not improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | g/m3
Oroua Trib at U/S Kimbolton STP | Suspended Sediment Concentration | 5 | FALSE | WARNING: Sen slope influenced by censored values | 0.76603 | 0.50847 | 0.16949 | 1 | 0.5 | 0 | 0 | 0 | 0 | RepSite | Likely improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | mg/L
Oroua Trib at U/S Kimbolton STP | Total Nitrogen | 5 | TRUE | ok | 0.76651 | 0 | 0.86441 | 0 | 0.6 | -0.017418 | -0.039539 | 0.013294 | -2.903 | RepSite | Likely improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | g/m3
Oroua Trib at U/S Kimbolton STP | Total Phosphorus | 5 | FALSE | ok | 0.028364 | 0 | 0.50847 | 0 | 0.022 | 0.0019728 | 0 | 0.003727 | 8.9673 | RepSite | Extremely unlikely improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | g/m3
Oroua Trib at U/S Kimbolton STP | Turbidity | 5 | TRUE | ok | 0.52877 | 0 | 0.89831 | 0 | 1.17 | -0.013424 | -0.14874 | 0.067785 | -1.1474 | RepSite | As likely as not improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | NTU/FNU
Oroua Trib at U/S Kimbolton STP | Dissolved Oxygen Concentration | 10 | TRUE | ok | 0.90894 | 0 | 0.89744 | 0 | 10.5 | 0.02829 | -0.010026 | 0.077222 | 0.26943 | RepSite | Very likely increasing | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | g/m3
Oroua Trib at U/S Kimbolton STP | Dissolved Reactive Phosphorus | 10 | FALSE | ok | 0.0097841 | 0.15126 | 0.16807 | 1 | 0.008 | 0.00035375 | 0 | 0.00066606 | 4.4219 | RepSite | Exceptionally unlikely improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | mg/L
Oroua Trib at U/S Kimbolton STP | E. coli | 10 | TRUE | ok | 0.99828 | 0.0084034 | 0.76471 | 1 | 455 | -39.7551 | -62.1143 | -15.2561 | -8.7374 | RepSite | Virtually certain improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | E. coli/100 mL
Oroua Trib at U/S Kimbolton STP | Ammoniacal Nitrogen (NH4) | 10 | FALSE | WARNING: Sen slope based on two censored values | 0.6591 | 0.9009 | 0.17117 | 8 | 0.005 | 0 | 0 | 0 | 0 | RepSite | As likely as not improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | mg/L
Oroua Trib at U/S Kimbolton STP | Nitrite Nitrogen (NO2) | 10 | FALSE | WARNING: Sen slope influenced by censored values | 0.99946 | 0.2437 | 0.14286 | 1 | 0.004 | -0.0002319 | -0.00039831 | 0 | -5.7976 | RepSite | Virtually certain improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | mg/L
Oroua Trib at U/S Kimbolton STP | Nitrate Nitrogen (NO3) | 10 | TRUE | ok | 0.94256 | 0.11765 | 0.87395 | 1 | 0.3585 | -0.0065015 | -0.01792 | 0 | -1.8135 | RepSite | Very likely improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | mg/L
Oroua Trib at U/S Kimbolton STP | pH | 10 | FALSE | ok | 0.063971 | 0 | 0.64103 | 0 | 7.54 | -0.014361 | -0.030575 | 0 | -0.19047 | RepSite | Very unlikely increasing | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a
Oroua Trib at U/S Kimbolton STP | SIN (Soluble Inorganic nitrogen) | 10 | TRUE | ok | 0.91785 | 0.042017 | 0.86555 | 2 | 0.365 | -0.0063146 | -0.018701 | 0.00025077 | -1.73 | RepSite | Very likely improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | g/m3
Oroua Trib at U/S Kimbolton STP | Suspended Sediment Concentration | 10 | TRUE | WARNING: Sen slope influenced by censored values | 0.9771 | 0.34454 | 0.15966 | 1 | 1 | 0 | -0.066723 | 0 | 0 | RepSite | Extremely likely improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | mg/L
Oroua Trib at U/S Kimbolton STP | Total Nitrogen | 10 | TRUE | ok | 0.9999 | 0 | 0.80672 | 0 | 0.693 | -0.02884 | -0.039873 | -0.016617 | -4.1616 | RepSite | Virtually certain improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | g/m3
Oroua Trib at U/S Kimbolton STP | Total Phosphorus | 10 | FALSE | ok | 0.12807 | 0 | 0.38655 | 0 | 0.022 | 0.00042769 | -0.00016207 | 0.0010231 | 1.9441 | RepSite | Unlikely improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | g/m3
Oroua Trib at U/S Kimbolton STP | Turbidity | 10 | TRUE | ok | 0.83943 | 0 | 0.90756 | 0 | 1.18 | -0.03512 | -0.074338 | 0.015052 | -2.9763 | RepSite | Likely improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | NTU/FNU
Oroua Trib at U/S Kimbolton STP | Visual Clarity | 15 | FALSE | WARNING: Sen slope influenced by censored values | 0.20785 | 0.23077 | 0.53846 | 7 | 1.6 | -0.039283 | -0.097784 | 0 | -2.4552 | RepSite | Unlikely improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | m
Oroua Trib at U/S Kimbolton STP | Dissolved Oxygen Concentration | 15 | TRUE | ok | 0.32921 | 0 | 0.85795 | 0 | 10.56 | -0.010002 | -0.034553 | 0.022044 | -0.094719 | RepSite | Unlikely increasing | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | g/m3
Oroua Trib at U/S Kimbolton STP | Dissolved Reactive Phosphorus | 15 | FALSE | WARNING: Sen slope influenced by censored values | 0.2094 | 0.18539 | 0.1573 | 1 | 0.0085 | 0 | 0 | 0.00023064 | 0 | RepSite | Unlikely improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | mg/L
Oroua Trib at U/S Kimbolton STP | E. coli | 15 | TRUE | ok | 0.69428 | 0.005618 | 0.76404 | 1 | 437.5 | -1.4693 | -11.5163 | 3.978 | -0.33584 | RepSite | Likely improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | E. coli/100 mL
Oroua Trib at U/S Kimbolton STP | Ammoniacal Nitrogen (NH4) | 15 | FALSE | WARNING: Sen slope based on two censored values | 0.99976 | 0.77647 | 0.28235 | 10 | 0.005 | 0 | 0 | 0 | 0 | RepSite | Virtually certain improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | mg/L
Oroua Trib at U/S Kimbolton STP | Nitrite Nitrogen (NO2) | 15 | FALSE | WARNING: Sen slope influenced by censored values | 0.71783 | 0.33974 | 0.12179 | 2 | 0.003 | 0 | 0 | 0 | 0 | RepSite | Likely improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | mg/L
Oroua Trib at U/S Kimbolton STP | Nitrate Nitrogen (NO3) | 15 | TRUE | ok | 0.99999 | 0.08805 | 0.86792 | 1 | 0.44 | -0.021893 | -0.030975 | -0.014713 | -4.9756 | RepSite | Virtually certain improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | mg/L
Oroua Trib at U/S Kimbolton STP | pH | 15 | FALSE | WARNING: Sen slope based on tied non-censored values | 0.55492 | 0 | 0.56 | 0 | 7.51 | 0 | -0.0089458 | 0.010981 | 0 | RepSite | As likely as not increasing | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a
Oroua Trib at U/S Kimbolton STP | SIN (Soluble Inorganic nitrogen) | 15 | TRUE | WARNING: Sen slope influenced by censored values | 1 | 0.02809 | 0.88764 | 2 | 0.485 | -0.031648 | -0.041913 | -0.024404 | -6.5254 | RepSite | Virtually certain improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | g/m3
Oroua Trib at U/S Kimbolton STP | Total Nitrogen | 15 | TRUE | ok | 1 | 0 | 0.69663 | 0 | 0.795 | -0.04196 | -0.05328 | -0.036252 | -5.278 | RepSite | Virtually certain improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | g/m3
Oroua Trib at U/S Kimbolton STP | Total Phosphorus | 15 | FALSE | WARNING: Sen slope based on tied non-censored values | 0.47992 | 0 | 0.32022 | 0 | 0.022 | 0 | -0.00033334 | 0.00033952 | 0 | RepSite | As likely as not improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | g/m3
Oroua Trib at U/S Kimbolton STP | Turbidity | 15 | TRUE | ok | 0.87606 | 0 | 0.85876 | 0 | 1.37 | -0.022643 | -0.053745 | 0.0055109 | -1.6528 | RepSite | Likely improving | 1838189 | 5561608 | Manawatu District | Manawatū | Oroua | Mana_12a | NTU/FNU